System Characterization
Suresh Devasahayam
Department of Bioengineering
Christian Medical College, Vellore

---
Lecture - Outline
- System Transfer Function
- System Frequency response
- Testing Methods
  - Frequency testing
  - Step response
  - Fourier transform methods

---
Measurement schematic

---
Transfer function estimation-I
H( j %omega ) = {Y (j %omega) } over {X(j %omega)} newline
- Sinusoids are Eigen functions of linear systems – function does not change
- When a sinusoid is input, the output is also a sinusoid
{ lline H(j %omega) rline } = { lline Y(j %omega) rline } over { lline X(j %omega) rline }
{ %angle H(j %omega) } = { %angle Y(j %omega) } - { %angle X(j %omega) }
H( j %omega ) approx left none sum {H(j %omega_n)} right rline _{ %omega_n="various test frequencies"... }

---
Using Sinusoidal testing for systems
- Electronic circuit sub-systems – sinusoidal voltage
  - Amplifiers
  - Filters
- Transducers – use known or calibrated sinsoidal input
  - Force and pressure transducers
  - Audio transducers
- Important consideration
  - Requirement of a known or calibrated input signal that can be controlled to have a sinusoidal time variation

---
Transfer function estimation – IIa
- White noise as input signal
Fourier transform lbrace { "white noise" } rbrace = 1
H( j %omega ) = { Y( j %omega ) } over 1

---
Transfer Function Estimation - IIb
- Simultaneous application of multiple sinusoids
  - Sinc function
- Sinc test function
x(t)=2 sinc( t ) = { 2sin(t) } over {t} newline X( j%omega )= 1 ~~~~~for~~ -1<%omega<+1

---
Transfer function estimation - III
- Step input signal
  - Easy to apply
- Assume or guess the order of the system
- Step response is the solution of the system differential equation
- First order system:
- Second order system
y( t)=k[ 1-e^{-t/%tau} ]
y( t )=K[ 1+{e^{-%zeta %omega_n t}} over sqrt{1-%zeta ^2} sin(sqrt{1-%zeta^2}%omega_n t +%phi) ]