Sensors with Feedback Correction
Suresh Devasahayam
Department of Bioengineering
Christian Medical College, Vellore

---
Lecture - Outline
- Force and Pressure Transducers as Second Order Systems
- Force Actuators
- Force Balance with Feedback

---
Force and Pressure measurement
F_1(s) = [m s^2 +K_B s+ K_e] X(s)

---
Add actuator to force/pressure transducer
F_2 (s) = F_1(s)-F_c(s)

---
Feedback compensation for force sensor

---
Overall Transfer Function
F_2 (s) = F_1(s)-F_c(s)=[ms^2+B s + K] X(s)
V_o(s) = g_a X(s)
F_c(s) = V_o(s) g_2 [1+RC s]
{V_o (s)} over {F_1 (s)}= g_a over {ms^2 +(B + g_a g_2 RC)s + (K+g_a g_2)}

---
Opamp circuit for Proportional+Differentiator
V_2 (s) = V_1 (s) [1+RCs] newline V_2(t) = V_1(t) + RC d over {dt} V_1 (t)

---
Standard form for second order system
H( s)=A over { s^2 over %omega_c ^2 + {2 %zeta} over %omega_c s + 1}

---
Why closed loop?
Open-loop case
Closed-loop case
{V_o (s)} over {F_1 (s)}= g_a over {ms^2 +(B + g_a g_2 RC)s + (K+g_a g_2)}
{V_o (s)} over {F_1 (s)}= g_a over {ms^2 +B s + K}
A=K_g over K_e
A=g_a over {K+g_a g_2}
%omega_c = sqrt{K over { m }}
%omega_c = sqrt{{K +g_a g_2} over { m }}
%zeta = B over sqrt{ 4 K m }
%zeta = {B+g_a g_2 RC} over sqrt{ 4 m (K +g_a g_2) }

---
Force Actuators - Electromagnetic actuator
- EMF in a coil
- EMF in a moving conductor
- Force on a conductor
- Magnetomotive force
V=-N {d %phi} over {dt}
V=-B v l
F=B`I`l
M=N`I

---
Magnetic Circuit equivalent

---
Magnetic circuits
R_g = 1 over %mu_o l_g over A_g
R_m = M_m over %phi = {H_c l_m} over {B_m A_m}
R_m = M_m over %phi = {N I} over {B_m A_m}
%phi = M_m over {R_m + R_g} cdot R_g

---
Voice coil - actuator