Sample Problems
Suresh Devasahayam
Department of Bioengineering
Christian Medical College, Vellore

---
Lecture - Outline
- Operational Amplifier Circuits
  - Sum and difference amplifier
  - Low-pass and high-pass filters
- Sensors with feedback compensation
  - Force sensor dynamic characteristics
  - Feedback compensation

---
Problem 1: Sum and Difference Amplifier

---
P1: Output of the sum-and-difference amplifier
V_a= left ( {V_1 + V_3 } over R right ) left ( {R`R_f} over {2R+R_f} right )
V_b= left ( {V_2 + V_4} over R + V_o over R_f right ) left ( {R`R_f} over {2R+R_f} right )
V_a = V_b
V_o = left ( V_1+V_3 - V_2 - V_4 right ) left ( R_f over R right )

---
Problem 2: Low-pass filter

---
P2: Design the filter for a cutoff of 20Hz
{V_o ( s)} over { V_i (s) } = -(R_2/R_1 ) over { 1+R_2 Cs }
R_1 = R_2 = 10k %OMEGA,~~C=0.8 %mu F, ~~f_c=20`Hz, %omega_c=125 r/s
abs{ ~{V_o(j %omega)} over { V_i(j %omega)}} ~=~ 1 over sqrt{~ 1+(RC %omega)^2 } = 1 over sqrt { 1+ (%omega /125)^2 }

---
P2:
f	ω	Magnitude	Magnitude (dB)	Phase
0.2	1.25	1	0	0
2.0	12.5	1	0
20	125	0.707	-3	45
200	1250	0.1	-20
2000	12500	0.01	-40	90

---
Problem 3: High-pass filter

---
P3: Design the HPF with cutoff freq of 20Hz
{V_o ( s)} over { V_i (s) } = -{R_2 Cs} over { 1+R_1 Cs }
R_1 = R_2 = 10k %OMEGA,~~C=0.8 %mu F, ~~f_c=20`Hz, %omega_c=125 r/s
abs{ {V_o(j %omega)} over { V_i(j %omega)}} = {RC %omega} over sqrt{ 1+(RC %omega)^2 } = {%omega / 125} over sqrt { 1+ (%omega /125)^2 }

---
P3:
f	ω	Magnitude	Magnitude (dB)	Phase
0.2	1.25	0.01	-40
2.0	12.5	0.1	-20
20	125	0.707	-3
200	1250	1	0
2000	12500	1	0

---
P4: Force sensor
Mass: m=100g,
spring constant: K=25.6 N/m
viscous damping B=0.8 N.s/m

---
P4:
F( t)=m {d^2 x( t )} over { dt } + B { dx } over { dt } +Kx
V_o ( t ) = g_a x( t )
{V_o (s)} over {F_1 (s)}= g_a over {ms^2 +B s + K} = {g_a / K} over { (m/K) s^2 + (B/K) s +1}
{V_o (s)} over {F_1 (s)}= A over { s^2 over {%omega_n ^2} + 2 %zeta over %omega_n s +1 }, ~~~ %omega_n=16 r/s,~~ %zeta=0.25

---
P4: Sensor Frequency response

---
P4: Sensor Step response

---
P4: Sensor with feedback compensation

---
P4: Feedback compensation

---
P4: Transfer function of sensor with feedback compensation
{V_o (s)} over {F_1 (s)}= g_a over {ms^2 +(B + g_a g_2 RC)s + (K+g_a g_2)}
{V_o (s)} over {F_1 (s)}= A over { s^2 over {%omega_c ^2} + 2 %zeta over %omega_c s +1 }
A=g_a over {K+g_a g_2}
%omega_c = sqrt{{K +g_a g_2} over { m }}
%zeta = {B+g_a g_2 RC} over sqrt{ 4 m (K +g_a g_2) }
g_a g_2 = 76.8, ~~RC=0.073, ~~~~%omega_n = 32 r/s=5.08Hz, %zeta=1.0

---
P4: Compensated Sensor Freq Response

---
P4: Compensated Sensor Step Response

---
End of Lecture