Displacement Sensors
Suresh Devasahayam
Department of Bioengineering
Christian Medical College, Vellore

---
Lecture - Outline
- Inductive Sensors
  - Measuring Inductance
- Capacitive Sensors
  - Measuring Capacitance

---
Inductance
- Inductance
- With constant permeability
- Reluctance of coil is R:
- If lc is coil length and la is length of air, Reluctance:
L = N {d %phi} over {dI}
L=N %phi over I
L= N %phi over I = N {N I}over R cdot {1 over I} = N^2 over R
1 over R = 1 over R_a + 1 over R_c = {%mu_o %pi r_a ^2} over {l_a} + {%mu %pi r_c ^2} over {l_c}

---
Variable Inductance Transducer
L= N^2 over R
1 over R = 1 over R_a + 1 over R_c = {%mu_o %pi r_a ^2} over {l_a} + {%mu %pi r_c ^2} over {l_c}
- Relative permeability:
  - Steel = 30000
  - Ferrite=2500
  (Note: Weber/Ampere=Henry)
L approx {N^2 %pi r^2 %mu } over l_c
%mu_o=4%pi 10^-7 H/m

---
Measuring Inductance using simple V-I
I( s )={ V(s) } over {R+Ls}
Ls={ V(s) } over {I(s)} -R
L %omega={ abs{ V(j %omega)} } over { abs {I(j %omega)} } -R

---
Differential Inductance Sensor – bridge measurement
Z_1 = L+ %DELTA L~,~~~Z_4 = L- %DELTA L
V_o( s)=V_i over 2 - V_i over { 2Ls } ( L+ %DELTA L )s

---
Linear Variable Differential Transformer (LVDT)
V_{ out } over V_{ i`n } approx k x

---
Capacitive transducers
- Capacitor
- Microphone
C= %epsilon A over l
dC over dl = %epsilon A over {-l^2} = -C over l
{%DELTA C} over C = -{%DELTA l} over l

---
Capacitance measurement
- Simple V-I measurement
- Bridge measurement
- Oscillator measurement
- Charge transfer or switched capacitor measurement

---
Relaxation Oscillator for capacitance measurement

---
Capacitive grid sensor

---
End of Lecture