Measurement of Flow
Suresh Devasahayam
Department of Bioengineering
Christian Medical College, Vellore

---
Lecture - Outline
- Fluid flow – liquid and gas
- Dilution methods
- Doppler and transit time
- Pressure drop method
- Electromagnetic
- Plethysmographic
  - Electrical
  - Optical

---
Flow in tubes
- Fluid flow is similar for liquids and gases
- Flow in tubes – most biomedical applications
- Flow in open spaces – e.g., respiration

---
Dilution methods
C_i F + { dm} over {dt } = C_o F
F = { dm / dt } over {C_o -C_i}

---
Example of dilution method – cardiac output
- Respiratory Gas Oxygen consumption: 0.25 litres/min
- Arterial Oxygen concentration: 0.2litre/litre
- Venous Oxygen concentration: 0.15 litre/litre
F={ dm/dt } over { C_o-C_i }= { 0.25l/min } over { 0.2l/l-0.15l/l } = 5 l/min

---
Thermodilution
- Apply heat at one point and measure heat downstream
- Depends on density of blood and specific heat of blood
- Assumes that there is no loss of heat by conduction across the vessel wall
F= { injected heat } over { change of temperature }
F=Q over { %rho c_b int %DELTA T dt }

---
Doppler and Transit time flow measurement
- Ultrasound transmitter+Receiver
- Doppler shift = fou/c
- Transit time = d/u

---
Electromagnetic flowmeter
- Blood is a moving conductor
- In a magnetic field:
  - EMF=(velocity)(Mag Flux density)(conductor length)

---
Plethysmographic methods
- Measurement of volume change
- Electrical resistance method
- Optical absorption method

---
Other methods of flow measurement
- Turbine
- Thermistor Heat dissipation

---
End of Lecture