Bioengineering
Measurement of Human Movement

---
Outline
- Need for measuring human movement
- Non-contact measurement
- Camera based measurement

---
The forward problem
- Given:
  - the geometry of the skeletal system
  - Force from the muscles
- Calculate the movement of limb segements
- Calculate external forces on the body

---
The inverse problem: movement analysis
Determining the physiological properties from the observed movement:
What are the control signals from the nervous system?
What are the characteristics of the musculoskeletal system?

---
Analysis of gait
Observe
Limb movement
Ground reaction forces
Muscle activity
Determine:
joint kinematics
Net moments
Power
Energy expenditure

---
Three parts of gait analysis
Kinematics
Kinetics
EMG

---
Limb movement in space
Positions determined every 0.01 second:
Foot
Shank
Thigh
Pelvis

---
Kinematics
Get joint positions at successive time intervals
Calculate position changes of limb segments:
Translation
Rotation
Calculate translational velocities, Vx, Vy, Vz
Calculate rotational velocities, x, y, z
Similarly, calculate accelerations

---
Segment movement forces
Estimate mass & moment of inertia for each segment (foot, shank, thigh) from anthropometric data
Using the acceleration calculated from the motion data, calculate the forces effected on these body segments

---
External forces on the body
Normal walking – only ground reaction forces
Sports – forces due to ball on limb/bat
Assisted walking – crutch, walker, etc.

---
Muscles involved in normal walking
 Ankle flexion/extension
Tibialis Anterior
Gastrocnemius
 Knee flexion/extension
Medial Hamstrings
Vastus Lateralis
 Hip flexion/extension
Rectus Femoris
Gluteus maximus
 Hip adduction/abduction
Adductor Longus
Tensor Fascia Lata

---
EMG measurement locations
Tibialis Anterior
Gastrocnemius
Vastus lateralis
Medial Hamstrings
Adductor Longus
Tensor Fascia Lata
Rectus Femoris
Gluteus Maximus
Lateral View
Anteromedial
View
1
2
3
4
5
7
6
8

---
Three points on a limb and angle of joint
a=BC=sqrt { (x_B-x_C)^2 +(y_B-y_C)^2+(z_B-z_C)^2} newline b=AC=sqrt { (x_A-x_C)^2 +(y_A-y_C)^2+(z_A-z_C)^2} newline c=AB=sqrt { (x_A-x_B)^2 +(y_A-y_B)^2+(z_A-z_B)^2}
cos(B) = { a^2 + c^2 -b^2 } over {2 ac}

---
Camera placement

---
Room co-ordinates to camera image co-ordinates
camera~X drarrow A=k_p( -z_A, y_A ), B=k_p( -z_B, y_B ), C=k_p( -z_C, y_C ) newline camera~Z drarrow A=k_q( ~x_A, y_A ), B=k_q( ~x_B, y_B ), C=k_q( ~x_C, y_C )

---
Camera images

---
Camera image co-ordinates
camera~Z drarrow ~ left [ matrix{ 1 # 0 # 0 # 0 ## 0 # 1 # 0 # 0 ## 0 # 0 # 0 # 0 ## 0 # 0 # 0 # 1} right ] left [ matrix {k_q x_A ## k_q y_A ## k_q z_A ## 1 } right ] = left [ matrix { k_q x_A ## k_q y_A ## 0 ## 1} right ]= left [ matrix { Image_Horiz ## Image_Vert ## `-` ## `-` } right ] ~~~~~ camera~X drarrow ~ left [ matrix{ 0 # 0 # 0 # 0 ## 0 # 1 # 0 # 0 ## 0 # 0 # -1 # 0 ## 0 # 0 # 0 # 1} right ] left [ matrix {k_p x_A ## k_p y_A ## k_p z_A ## 1 } right ] = left [ matrix { 0 ## k_p y_A ## -k_p z_A ## 1} right ]=left [ matrix { `-` ## Image_Vert ## Image_Horiz ## `-` } right ] ~~~~~

---
Room co-ordinate system

---
Magnification and depth dependent scale factor

---
Multiple camera systems

---
3D reconstruction

---
3D reconstruction from cameras
- Image of Marker A in camera I co-ords: x'A, y'A
- Image of Marker A in camera II co-ords:x''A, y''A
- Knowing positions of cameras I & II in room co-ordinates, we can calculate, x, y, z in room co-ordinates

---
How many cameras ?
- Theoretical minimum number of cameras is 2
- The theoretical minimum assumes infinite spatial resolution for the imaging system, no distortion, visibility of all markers always, by each camera, etc.
- In practice these assumptions are not true
- The 3D reconstruction is done by SVD (i.e., not by direct solution) and the accuracy improves with more cameras

---
Measurement of ground forces
- Force vector: direction and magnitude of force by foot on the ground
- Centre of pressure determines the position of the force vector (i.e., whether at the heel, toe, or in-between)

---
Force plate recording
Floor
Force plate
Force plate
Force transducer pillars
3 axes of measurement

---
Force plate measurement
- Horizontal forces in forward-backward direction and lateral (left-right) direction are measured by all four pillars
- Centre of pressure is calculated from the relative vertical force on each pillar