Blood Chemistry Sensors
Suresh Devasahayam
Department of Bioengineering
Christian Medical College, Vellore

---
Outline
- pH sensors
- Oxygen sensors
- Glucose sensors
- CO2 sensors

---
Normal Ranges
- PO2: 80-104 mmHg
- PCO2: 33-48 mmHg
- pH : 7.31-7.45
- Glucose: 70-110

---
Photospectrometry
- Estimate the spectrum of optical properties of a sample
- Measure intensity of light at few selected wavelengths

---
Optical Spectrum estimation
n %lambda = d sin %theta
d~= ~grating~spacing

---
LED colours

---
LED spectra

---
White light using phosphor coated blue LEDs

---
Absorption spectrum change of phenol red with pH

---
Peak spectrum shift of phenol red with pH

---
O2 fluorescence dye (e.g., Anthracenecarboxaldehyde, C15H10O)

---
Light absorption by tissue

---
Light absorption and oxygenated haemoglobin

---
Ion-sensitive Field Effect Transistors

---
ISFET with sample holder

---
Intravascular sensor